## Device_Configuration_Table
Timestamp_Local | Voltage Mode | Voltage Scale-PT Primary | Voltage Scale-PT Secondary | Current Scale-CT Primary | Current Scale-CT Secondary | Analog Input Scale-PT Primary | Analog Input Scale-PT Secondary | I4 Neutral Current Scale-CT Primary | I4 Neutral Current Scale-CT Secondary | Demand Period Length | Number Of Demand Periods | Snapshot Interval-Hours | Snapshot Interval-Minutes | Snapshot Interval-Seconds | Snapshot Buffer Type | Output Pulse Relay # | Output Pulse Parameter | Output Pulse Increment | Output Pulse Width (ms) | CH A 12 Cycle Oscillograph | CH B 12 Cycle Oscillograph | Oscillography Type | Number of Pretrigger Cycles | IEEE 519 Max. Short Circuit Current | IEEE 519 Max. Demand/Load Current | Save Status Changes To Event Log | Vaux Voltage Mode | Filter Mode | Enable Min_Max Log
(units) | V | V | V | A | A |  |  | A | A | min | min | s | s | s |  |  |  |  | ms |  |  |  |  | A | A |  | V
2026-05-13 14:59:41 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 15:00:04 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 15:00:24 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 15:00:44 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 15:01:04 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 15:01:24 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1

## Communications_Configuration_Ta
Timestamp_Local | IP Address Byte a | IP Address Byte b | IP Address Byte c | IP Address Byte d | Gateway IP Address Byte a | Gateway IP Address Byte b | Gateway IP Address Byte c | Gateway IP Address Byte d | Subnet Mask Byte a | Subnet Mask Byte b | Subnet Mask Byte c | Subnet Mask Byte d | Physical Ethernet Port | CSP Keep Alive Interval
(units) | [13 empty] | s
2026-05-13 14:59:41 | 10 | 16 | 130 | 50 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 15:00:04 | 10 | 16 | 130 | 50 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 15:00:24 | 10 | 16 | 130 | 50 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 15:00:44 | 10 | 16 | 130 | 50 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 15:01:04 | 10 | 16 | 130 | 50 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 15:01:24 | 10 | 16 | 130 | 50 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30

## Voltage_Current_Table
Timestamp_Local | L1 Current | L2 Current | L3 Current | L4(Neutral) Current | 3 Phase Average Current | Pos. Seq. Current | Neg. Seq. Current | Current Unbalanced | L1-L2 Voltage | L2-L3 Voltage | L3-L1 Voltage | AUX Voltage | 3 Phase Average Voltage L-L | Pos. Seq. Voltage | Neg. Seq. Voltage | Voltage Unbalanced | L1-N Voltage | L2-N Voltage | L3-N Voltage | 3 Phase Average Voltage L-N | Last Cycle Frequency | Phase Rotation
(units) | A | A | A | A | A | A | A | A | V | V | V | V | V | V | V | V | V | V | V | V | Hz
2026-05-13 14:59:41 | 48.0959 | 52.9141 | 46.0485 | 0.004291 | 49.0195 | 48.8928 | 4.1316 | 8.4504 | 4322.7344 | 4292.6001 | 4307.9961 | 0 | 4307.7769 | 4306.8994 | 30.6206 | 0.71097 | 2495.7571 | 2485.9871 | 2478.719 | 2486.821 | 60.001 | 2
2026-05-13 15:00:04 | 46.5144 | 51.2835 | 44.3566 | 0.003984 | 47.3848 | 47.25 | 4.1807 | 8.848 | 4320.2407 | 4294.6284 | 4307.6367 | 0 | 4307.502 | 4306.6611 | 28.3568 | 0.65844 | 2494.3271 | 2485.8679 | 2479.7913 | 2486.6621 | 59.998 | 2
2026-05-13 15:00:24 | 46.5757 | 51.2835 | 44.3443 | 0.003984 | 47.4012 | 47.2745 | 4.1684 | 8.8174 | 4320.1221 | 4292.1221 | 4307.6367 | 0 | 4306.627 | 4305.708 | 29.4291 | 0.68349 | 2494.6846 | 2484.9146 | 2478.8381 | 2486.1458 | 59.998 | 2
2026-05-13 15:00:44 | 46.4531 | 51.7249 | 44.1972 | 0.004597 | 47.4584 | 47.3113 | 4.5485 | 9.6139 | 4322.3735 | 4295.228 | 4309.6694 | 0 | 4309.0903 | 4308.21 | 28.9525 | 0.67203 | 2495.6379 | 2486.7019 | 2480.3872 | 2487.5757 | 60.0234 | 2
2026-05-13 15:01:04 | 46.6983 | 51.7371 | 44.2463 | 0.004291 | 47.5605 | 47.4216 | 4.4749 | 9.4364 | 4322.9692 | 4296.3013 | 4309.1909 | 0 | 4309.4868 | 4308.5674 | 28.9525 | 0.67198 | 2495.6379 | 2487.2976 | 2480.5063 | 2487.814 | 60.0156 | 2
2026-05-13 15:01:24 | 44.565 | 49.7878 | 42.0272 | 0.003984 | 45.46 | 45.3006 | 4.6465 | 10.2571 | 4325.1084 | 4298.4492 | 4314.2026 | 0 | 4312.5864 | 4311.7847 | 28.7143 | 0.66595 | 2497.9016 | 2488.0125 | 2482.8892 | 2489.6011 | 60.0098 | 2

## Real_Time_Power_Table
Timestamp_Local | L1 Real Power | L2 Real Power | L3 Real Power | Total Real Power | L1 Reactive Power | L2 Reactive Power | L3 Reactive Power | Total Reactive Power | L1 Apparent Power | L2 Apparent Power | L3 Apparent Power | Total Apparent Power | L1 True PF | L2 True PF | L3 True PF | Total True PF | L1 Displacement PF | L2 Displacement PF | L3 Displacement PF | Total Displacement PF | L1 Distortion PF | L2 Distortion PF | L3 Distortion PF | Total Distortion PF
(units) | W | W | W | W | VAR | VAR | VAR | VAR | VA | VA | VA | VA | % | % | % | % | % | % | % | % | % | % | % | %
2026-05-13 14:59:41 | 104882.9219 | 120449.3125 | 106209.2188 | 331541.4375 | 55994.3789 | 50343.9414 | 38430.9219 | 144769.25 | 118889.9531 | 130562.8984 | 112972.3281 | 362425.1875 | -88.2185 | -92.2539 | -94.0135 | -91.3757 | -88.1806 | -91.8879 | -94.0225 | -91.5225 | 99.9864 | 99.9841 | 99.9726 | 99.981
2026-05-13 15:00:04 | 102554.3516 | 118213.7578 | 103724.6172 | 324492.7188 | 54226.3555 | 47934.6016 | 36426.2852 | 138587.2344 | 116002.5156 | 127563.2812 | 109954.1094 | 353519.9062 | -88.407 | -92.6707 | -94.3345 | -91.7803 | -88.1806 | -91.8879 | -94.0225 | -91.5225 | 99.9864 | 99.9841 | 99.9726 | 99.981
2026-05-13 15:00:24 | 102867.25 | 118207.5 | 103687.2188 | 324761.9688 | 53787.5273 | 47354.2344 | 36132.082 | 137273.8438 | 116080.2969 | 127349.7578 | 109816.6875 | 353246.75 | -88.6173 | -92.8211 | -94.4185 | -91.9209 | -88.4159 | -92.1665 | -94.1518 | -91.7354 | 99.9853 | 99.9848 | 99.9708 | 99.9803
2026-05-13 15:00:44 | 102063.1719 | 118991.3828 | 103268.3047 | 324322.875 | 54818.4062 | 47923.4766 | 35657.6367 | 138399.5156 | 115849.2891 | 128295.0938 | 109256.0469 | 353400.4375 | -88.1 | -92.7482 | -94.5195 | -91.7673 | -88.4159 | -92.1665 | -94.1518 | -91.7354 | 99.9853 | 99.9848 | 99.9708 | 99.9803
2026-05-13 15:01:04 | 102654.9453 | 119385.7109 | 103579.5234 | 325620.1875 | 55099.7109 | 48073.0547 | 36186.4922 | 139359.25 | 116502.9531 | 128709.5234 | 109731.9844 | 354944.4375 | -88.1136 | -92.7559 | -94.3932 | -91.7334 | -88.4159 | -92.1665 | -94.1518 | -91.7354 | 99.9853 | 99.9848 | 99.9708 | 99.9803
2026-05-13 15:01:24 | 97215.0391 | 114768.4922 | 98724.2891 | 310707.8125 | 54334.9883 | 47282.7188 | 34596.4688 | 136214.1719 | 111390.9062 | 124122.5 | 104637.8906 | 340151.3125 | -87.2738 | -92.4639 | -94.3485 | -91.3448 | -88.6927 | -92.8896 | -94.557 | -92.2228 | 99.9855 | 99.9857 | 99.9728 | 99.9813

## Cumulative_Power_Table
Timestamp_Local | KW Hours Forward | KW Hours Reverse | KW Hours Net | KVAR Hours Forward | KVAR Hours Reverse | KVAR Hours Net
(units) | kWh | kWh | kWh | kVARh | kVARh | kVARh
2026-05-13 14:59:41 | 44848862.9743 | -0.845 | 44848862.114 | 18820204.3582 | -46.5352 | 18820157.8129
2026-05-13 15:00:04 | 44848864.7726 | -0.845 | 44848863.9123 | 18820205.1265 | -46.5352 | 18820158.5812
2026-05-13 15:00:24 | 44848866.8122 | -0.845 | 44848865.9519 | 18820205.9922 | -46.5352 | 18820159.4469
2026-05-13 15:00:44 | 44848868.623 | -0.845 | 44848867.7628 | 18820206.7615 | -46.5352 | 18820160.2162
2026-05-13 15:01:04 | 44848870.4542 | -0.845 | 44848869.594 | 18820207.542 | -46.5352 | 18820160.9967
2026-05-13 15:01:24 | 44848872.1991 | -0.845 | 44848871.3388 | 18820208.297 | -46.5352 | 18820161.7518

## Demand_Data_Table
Timestamp_Local | Demand Current | Demand Power | Demand Apparent Power | Projected #1 Demand Current | Projected #1 Demand Power | Projected #1 Demand Reactive Power | Projected #1 Demand Apparent Power | Projected #2 Demand Current | Projected #2 Demand Power | Projected #2 Demand Reactive Power | Projected #2 Demand Apparent Power | Projected #3 Demand Current | Projected #3 Demand Power | Projected #3 Demand Reactive Power | Projected #3 Demand Apparent Power | Elapsed Time
(units) | A | W | VA | A | W | VAR | VA | A | W | VAR | VA | A | W | VAR | VA | s
2026-05-13 14:59:41 | 48.4304 | 324600.5625 | 157321.2812 | 361301.625 | 45.8556 | 308625.0625 | 145495.75 | 342093.0625 | 46.062 | 310377.5625 | 145421.0781 | 343639 | 46.2268 | 311479.4688 | 145925.3594 | 344853.3125
2026-05-13 15:00:04 | 48.4304 | 324600.5625 | 157321.2812 | 361301.625 | 45.8948 | 309017.6562 | 145350.5469 | 342386.6562 | 45.9775 | 309883.9062 | 144951 | 343000.1875 | 45.956 | 309735.5 | 144897.3594 | 342841.5938
2026-05-13 15:00:24 | 48.4304 | 324600.5625 | 157321.2812 | 361301.625 | 45.9304 | 309402.0625 | 145147.6094 | 342649 | 45.9898 | 309950.75 | 145013.1719 | 343087.375 | 45.9951 | 309978.4375 | 145053.625 | 343129.1562
2026-05-13 15:00:44 | 48.4304 | 324600.5625 | 157321.2812 | 361301.625 | 45.9645 | 309759.2812 | 144981.1719 | 342904.625 | 45.9782 | 309899.8438 | 144921.2812 | 343007.6875 | 45.9783 | 309900.2812 | 144922.5312 | 343008.6875
2026-05-13 15:01:04 | 45.9786 | 309904.1875 | 144916.8281 | 343009.9062 | 47.7345 | 326824 | 139728.7812 | 356203.0625 | 47.7112 | 326616.5312 | 139967.8906 | 356078.4688 | 51.7249 | 349857.9375 | 166584.8906 | 386609.3125
2026-05-13 15:01:24 | 45.9786 | 309904.1875 | 144916.8281 | 343009.9062 | 46.7345 | 319621 | 137676.6719 | 348817.4375 | 45.5158 | 310535.9688 | 136095.3594 | 339941.4062 | 21.8559 | 134254.5781 | 107628.7969 | 168464.1094

## Diagnostic_Table
Timestamp_Local | Bulletin Number | MMFRN | Options Bit Field | Overall Status | MM ROM Status | MM RAM Status | NV RAM Status | Power Supply Check | Data Acquisition | MM Watchdog Timer | Real Time Clock Status | Battery Usage | SCC Status | SCC Type | SCC FRN | Number of DMs | DM Status | DM Self Test Results Word 1 | DM Self Test Results Word 2 | DM #1 FRN | DM #2 FRN | DM #3 FRN | Aux. Freq. | Fiber Loop Back Test Results | EEPROM Status | Device ID | General Purpose Status Bits | BT Error Status Word (Block Size ID) | BT Error Status Word (Parameter Number)
(units)
2026-05-13 14:59:41 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:00:04 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:00:24 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:00:44 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:01:04 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:01:24 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0

## Voltage_Current_Snapshot_Log_Ta
Timestamp_Local | L1 Current | L2 Current | L3 Current | L4(Neutral) Current | 3 Phase Average Current | Pos. Seq. Current | Neg. Seq. Current | Current Unbalanced | L1-L2 Voltage | L2-L3 Voltage | L3-L1 Voltage | AUX Voltage | 3 Phase Average Voltage L-L | Pos. Seq. Voltage | Neg. Seq. Voltage | Voltage Unbalanced | L1-N Voltage | L2-N Voltage | L3-N Voltage | 3 Phase Average Voltage L-N | Last Cycle Frequency | Phase Rotation | Number Of Snapshot Logs Requested | Number Of Snapshot Logs Recieved (Counter) | Number Of Snapshot Log Being Returned
(units) | A | A | A | A | A | A | A | A | V | V | V | V | V | V | V | V | V | V | V | V | Hz
2026-05-13 14:59:41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:01:04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:01:24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Power_Snapshot_Log_Table
Timestamp_Local | L1 Real Power | L2 Real Power | L3 Real Power | Total Real Power | L1 Reactive Power | L2 Reactive Power | L3 Reactive Power | Total Reactive Power | L1 Apparent Power | L2 Apparent Power | L3 Apparent Power | Total Apparent Power | L1 True PF | L2 True PF | L3 True PF | Total True PF | L1 Displacement PF | L2 Displacement PF | L3 Displacement PF | Total Displacement PF | L1 Distortion PF | L2 Distortion PF | L3 Distortion PF | Total Distortion PF | Number Of Snapshot Logs Requested | Number Of Snapshot Logs Recieved (Counter) | Number Of Snapshot Log Being Returned | Internal Identifier
(units) | W | W | W | W | VAR | VAR | VAR | VAR | VA | VA | VA | VA | % | % | % | % | % | % | % | % | % | % | % | %
2026-05-13 14:59:41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:01:04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:01:24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## MinMax_Log_Table
Timestamp_Local | MIN Value For Parameter | MAX Value For Parameter | Number Of MIN_MAX Logs Requested | Number Of MIN_MAX Logs Recieved (Counter) | Number Of MIN_MAX Log Being Returned | Internal Identifier
(units)
2026-05-13 14:59:41 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:04 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:24 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:00:44 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:01:04 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 15:01:24 | 0 | 0 | 0 | 0 | 0 | 0

## Diagnostic_Table_Extended
Timestamp_Local | Bulletin Number | MMFRN | Options Bit Field | Overall Status | MM ROM Status | MM RAM Status | NV RAM Status | Power Supply Check | Data Acquisition | MM Watchdog Timer | Real Time Clock Status | Battery Usage | SCC Status | SCC Type | SCC FRN | Number of DMs | DM Status | DM Self Test Results Word 1 | DM Self Test Results Word 2 | DM #1 FRN | DM #2 FRN | DM #3 FRN | Aux. Freq. | Fiber Loop Back Test Results | EEPROM Status | Device ID | General Purpose Status Bits | BT Error Status Word (Block Size ID) | BT Error Status Word (Parameter Number)
(units)
2026-05-13 14:59:41 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:00:04 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:00:24 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:00:44 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:01:04 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0
2026-05-13 15:01:24 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 100 | 2 | 0 | 0