## Device_Configuration_Table
Timestamp_Local | Voltage Mode | Voltage Scale-PT Primary | Voltage Scale-PT Secondary | Current Scale-CT Primary | Current Scale-CT Secondary | Analog Input Scale-PT Primary | Analog Input Scale-PT Secondary | I4 Neutral Current Scale-CT Primary | I4 Neutral Current Scale-CT Secondary | Demand Period Length | Number Of Demand Periods | Snapshot Interval-Hours | Snapshot Interval-Minutes | Snapshot Interval-Seconds | Snapshot Buffer Type | Output Pulse Relay # | Output Pulse Parameter | Output Pulse Increment | Output Pulse Width (ms) | CH A 12 Cycle Oscillograph | CH B 12 Cycle Oscillograph | Oscillography Type | Number of Pretrigger Cycles | IEEE 519 Max. Short Circuit Current | IEEE 519 Max. Demand/Load Current | Save Status Changes To Event Log | Vaux Voltage Mode | Filter Mode | Enable Min_Max Log
(units) | V | V | V | A | A |  |  | A | A | min | min | s | s | s |  |  |  |  | ms |  |  |  |  | A | A |  | V
2026-05-13 12:35:18 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 12:35:33 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 12:35:49 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 12:36:04 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1
2026-05-13 12:36:19 | 4 | 2399.9998 | 120 | 200 | 5 | 1 | 1 | 5 | 5 | 15 | 1 | 0 | 15 | 0 | 1 | 0 | 0 | 1 | 100 | 1 | 2 | 0 | 3 | 0 | 0 | 1 | 0 | 2 | 1

## Communications_Configuration_Ta
Timestamp_Local | IP Address Byte a | IP Address Byte b | IP Address Byte c | IP Address Byte d | Gateway IP Address Byte a | Gateway IP Address Byte b | Gateway IP Address Byte c | Gateway IP Address Byte d | Subnet Mask Byte a | Subnet Mask Byte b | Subnet Mask Byte c | Subnet Mask Byte d | Physical Ethernet Port | CSP Keep Alive Interval
(units) | [13 empty] | s
2026-05-13 12:35:18 | 10 | 16 | 130 | 51 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 12:35:33 | 10 | 16 | 130 | 51 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 12:35:49 | 10 | 16 | 130 | 51 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 12:36:04 | 10 | 16 | 130 | 51 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30
2026-05-13 12:36:19 | 10 | 16 | 130 | 51 | 10 | 16 | 130 | 1 | 255 | 255 | 255 | 0 | 0 | 30

## Voltage_Current_Table
Timestamp_Local | L1 Current | L2 Current | L3 Current | L4(Neutral) Current | 3 Phase Average Current | Pos. Seq. Current | Neg. Seq. Current | Current Unbalanced | L1-L2 Voltage | L2-L3 Voltage | L3-L1 Voltage | AUX Voltage | 3 Phase Average Voltage L-L | Pos. Seq. Voltage | Neg. Seq. Voltage | Voltage Unbalanced | L1-N Voltage | L2-N Voltage | L3-N Voltage | 3 Phase Average Voltage L-N | Last Cycle Frequency | Phase Rotation
(units) | A | A | A | A | A | A | A | A | V | V | V | V | V | V | V | V | V | V | V | V | Hz
2026-05-13 12:35:18 | 21.4059 | 22.166 | 14.4423 | 0.004597 | 19.3381 | 9.4402 | 14.3932 | 152.4675 | 4332.709 | 4298.2119 | 4314.562 | 0 | 4315.1606 | 4314.2866 | 33.361 | 0.77327 | 2502.0718 | 2490.5146 | 2480.6255 | 2491.0706 | 60.0205 | 2
2026-05-13 12:35:33 | 21.6266 | 22.5338 | 14.3442 | 0.004597 | 19.5015 | 9.6486 | 14.5649 | 150.953 | 4326.8872 | 4294.751 | 4309.9077 | 0 | 4310.5156 | 4309.6396 | 31.9312 | 0.74092 | 2498.6165 | 2487.8933 | 2478.5999 | 2488.3699 | 60.0234 | 2
2026-05-13 12:35:49 | 21.5898 | 22.448 | 14.3319 | 0.004597 | 19.4566 | 9.6118 | 14.5158 | 151.0204 | 4326.4116 | 4293.1997 | 4310.7437 | 0 | 4310.1187 | 4309.2822 | 32.2886 | 0.74928 | 2499.093 | 2486.821 | 2478.4807 | 2488.1316 | 60.0264 | 2
2026-05-13 12:36:04 | 21.3078 | 22.0312 | 14.3932 | 0.004597 | 19.2441 | 9.3911 | 14.3197 | 152.4804 | 4324.7505 | 4290.9316 | 4309.0718 | 0 | 4308.2515 | 4307.376 | 32.6461 | 0.75791 | 2498.259 | 2485.7488 | 2477.051 | 2487.0195 | 60.0176 | 2
2026-05-13 12:36:19 | 21.5898 | 22.4848 | 14.6262 | 0.004291 | 19.5669 | 9.5505 | 14.5649 | 152.5032 | 4324.2749 | 4292.3633 | 4308.9526 | 0 | 4308.5308 | 4307.6143 | 31.6929 | 0.73574 | 2497.7825 | 2486.1062 | 2477.7659 | 2487.218 | 60.0176 | 2

## Real_Time_Power_Table
Timestamp_Local | L1 Real Power | L2 Real Power | L3 Real Power | Total Real Power | L1 Reactive Power | L2 Reactive Power | L3 Reactive Power | Total Reactive Power | L1 Apparent Power | L2 Apparent Power | L3 Apparent Power | Total Apparent Power | L1 True PF | L2 True PF | L3 True PF | Total True PF | L1 Displacement PF | L2 Displacement PF | L3 Displacement PF | Total Displacement PF | L1 Distortion PF | L2 Distortion PF | L3 Distortion PF | Total Distortion PF
(units) | W | W | W | W | VAR | VAR | VAR | VAR | VA | VA | VA | VA | % | % | % | % | % | % | % | % | % | % | % | %
2026-05-13 12:35:18 | 12998.0283 | 33183.6953 | -16949.5273 | 29232.1953 | 52436.1758 | 44996.6875 | -31331.9102 | 66100.9531 | 54014.1406 | 55937.6328 | 35739.7188 | 145691.5 | -24.0641 | -59.3227 | -47.4249 | -19.9928 | -28.4939 | -60.707 | -50.2545 | -99.9411 | 99.9452 | 99.9002 | 99.6021 | 99.8158
2026-05-13 12:35:33 | 13254.8369 | 33627.8516 | -17223.7246 | 29658.9629 | 52384.9453 | 44790.0781 | -31032.5645 | 66142.4609 | 54046.8594 | 56036.6328 | 35621.082 | 145704.5781 | -24.5247 | -60.0105 | -48.3526 | -20.3683 | -25.4542 | -60.7235 | -49.9643 | -99.8947 | 99.9466 | 99.9019 | 99.5681 | 99.8055
2026-05-13 12:35:49 | 13148.2617 | 32924.5508 | -16869.2227 | 29203.5898 | 52064.4727 | 44570.1992 | -31210.4707 | 65424.2031 | 53681.7969 | 55427.8477 | 35610.8008 | 144720.4375 | -24.493 | -59.4007 | -47.3711 | -20.2443 | -25.4542 | -60.7235 | -49.9643 | -99.8947 | 99.9466 | 99.9019 | 99.5681 | 99.8055
2026-05-13 12:36:04 | 13069.2656 | 32434.1191 | -16732.5449 | 28770.8379 | 51725.5859 | 44310.1172 | -31324.6172 | 64711.0859 | 53329.4453 | 54944.1484 | 35624.0742 | 143897.6719 | -24.5067 | -59.0311 | -46.9698 | -19.9146 | -25.4542 | -60.7235 | -49.9643 | -99.8947 | 99.9466 | 99.9019 | 99.5681 | 99.8055
2026-05-13 12:36:19 | 14083.0361 | 33610.5547 | -17737.3418 | 29956.248 | 52063.3516 | 44581.6055 | -31501.2148 | 65143.7383 | 53931.7773 | 55863.7773 | 36272.3125 | 146067.875 | -26.1127 | -60.1652 | -48.9005 | -20.5067 | -24.5119 | -58.6825 | -46.7644 | -99.7565 | 99.9465 | 99.8924 | 99.5567 | 99.7986

## Cumulative_Power_Table
Timestamp_Local | KW Hours Forward | KW Hours Reverse | KW Hours Net | KVAR Hours Forward | KVAR Hours Reverse | KVAR Hours Net
(units) | kWh | kWh | kWh | kVARh | kVARh | kVARh
2026-05-13 12:35:18 | 7694592.5869 | -185.5406 | 7694407.0403 | 19606975.173 | -3.1794 | 19606971.9909
2026-05-13 12:35:33 | 7694592.7104 | -185.5406 | 7694407.1638 | 19606975.4513 | -3.1794 | 19606972.2691
2026-05-13 12:35:49 | 7694592.8344 | -185.5406 | 7694407.2877 | 19606975.7282 | -3.1794 | 19606972.5461
2026-05-13 12:36:04 | 7694592.9582 | -185.5406 | 7694407.4116 | 19606976.0051 | -3.1794 | 19606972.8229
2026-05-13 12:36:19 | 7694593.0844 | -185.5406 | 7694407.5377 | 19606976.283 | -3.1794 | 19606973.1009

## Demand_Data_Table
Timestamp_Local | Demand Current | Demand Power | Demand Apparent Power | Projected #1 Demand Current | Projected #1 Demand Power | Projected #1 Demand Reactive Power | Projected #1 Demand Apparent Power | Projected #2 Demand Current | Projected #2 Demand Power | Projected #2 Demand Reactive Power | Projected #2 Demand Apparent Power | Projected #3 Demand Current | Projected #3 Demand Power | Projected #3 Demand Reactive Power | Projected #3 Demand Apparent Power | Elapsed Time
(units) | A | W | VA | A | W | VAR | VA | A | W | VAR | VA | A | W | VAR | VA | s
2026-05-13 12:35:18 | 18.4292 | 29823.4727 | 60045.0117 | 137234.3125 | 19.5461 | 30428.4805 | 64404.5273 | 145439 | 19.4609 | 29409.7656 | 65287.9766 | 145286.0781 | 19.3003 | 27244.123 | 64318.1719 | 144456.1406
2026-05-13 12:35:33 | 18.4292 | 29823.4727 | 60045.0117 | 137234.3125 | 19.5411 | 30366.3848 | 64473.3438 | 145432.625 | 19.4045 | 29354.7598 | 64947.4453 | 144768.1094 | 18.732 | 28333.8438 | 60917.6758 | 138692.8125
2026-05-13 12:35:49 | 18.4292 | 29823.4727 | 60045.0117 | 137234.3125 | 19.5354 | 30318.2773 | 64535.8398 | 145416.9375 | 19.4995 | 29911.084 | 65592.125 | 145477.8438 | 19.508 | 30633.9805 | 65926.5 | 145659.0312
2026-05-13 12:36:04 | 18.4292 | 29823.4727 | 60045.0117 | 137234.3125 | 19.5292 | 30269.9688 | 64584.2148 | 145392.9062 | 19.4155 | 29530.4629 | 64981.6016 | 144803.0469 | 19.4871 | 30292.0742 | 64957.2031 | 144817.2656
2026-05-13 12:36:19 | 18.4292 | 29823.4727 | 60045.0117 | 137234.3125 | 19.5273 | 30233.2383 | 64602.2617 | 145399.4375 | 19.5258 | 29891.8164 | 64788.5039 | 145623.3438 | 19.9254 | 30594.9629 | 59800.6172 | 148451.4844

## Diagnostic_Table
Timestamp_Local | Bulletin Number | MMFRN | Options Bit Field | Overall Status | MM ROM Status | MM RAM Status | NV RAM Status | Power Supply Check | Data Acquisition | MM Watchdog Timer | Real Time Clock Status | Battery Usage | SCC Status | SCC Type | SCC FRN | Number of DMs | DM Status | DM Self Test Results Word 1 | DM Self Test Results Word 2 | DM #1 FRN | DM #2 FRN | DM #3 FRN | Aux. Freq. | Fiber Loop Back Test Results | EEPROM Status | Device ID | General Purpose Status Bits | BT Error Status Word (Block Size ID) | BT Error Status Word (Parameter Number)
(units)
2026-05-13 12:35:18 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0
2026-05-13 12:35:33 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0
2026-05-13 12:35:49 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0
2026-05-13 12:36:04 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0
2026-05-13 12:36:19 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0

## Voltage_Current_Snapshot_Log_Ta
Timestamp_Local | L1 Current | L2 Current | L3 Current | L4(Neutral) Current | 3 Phase Average Current | Pos. Seq. Current | Neg. Seq. Current | Current Unbalanced | L1-L2 Voltage | L2-L3 Voltage | L3-L1 Voltage | AUX Voltage | 3 Phase Average Voltage L-L | Pos. Seq. Voltage | Neg. Seq. Voltage | Voltage Unbalanced | L1-N Voltage | L2-N Voltage | L3-N Voltage | 3 Phase Average Voltage L-N | Last Cycle Frequency | Phase Rotation | Number Of Snapshot Logs Requested | Number Of Snapshot Logs Recieved (Counter) | Number Of Snapshot Log Being Returned
(units) | A | A | A | A | A | A | A | A | V | V | V | V | V | V | V | V | V | V | V | V | Hz
2026-05-13 12:35:18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:35:33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:35:49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:36:04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:36:19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Power_Snapshot_Log_Table
Timestamp_Local | L1 Real Power | L2 Real Power | L3 Real Power | Total Real Power | L1 Reactive Power | L2 Reactive Power | L3 Reactive Power | Total Reactive Power | L1 Apparent Power | L2 Apparent Power | L3 Apparent Power | Total Apparent Power | L1 True PF | L2 True PF | L3 True PF | Total True PF | L1 Displacement PF | L2 Displacement PF | L3 Displacement PF | Total Displacement PF | L1 Distortion PF | L2 Distortion PF | L3 Distortion PF | Total Distortion PF | Number Of Snapshot Logs Requested | Number Of Snapshot Logs Recieved (Counter) | Number Of Snapshot Log Being Returned | Internal Identifier
(units) | W | W | W | W | VAR | VAR | VAR | VAR | VA | VA | VA | VA | % | % | % | % | % | % | % | % | % | % | % | %
2026-05-13 12:35:18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:35:33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:35:49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:36:04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:36:19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## MinMax_Log_Table
Timestamp_Local | MIN Value For Parameter | MAX Value For Parameter | Number Of MIN_MAX Logs Requested | Number Of MIN_MAX Logs Recieved (Counter) | Number Of MIN_MAX Log Being Returned | Internal Identifier
(units)
2026-05-13 12:35:18 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:35:33 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:35:49 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:36:04 | 0 | 0 | 0 | 0 | 0 | 0
2026-05-13 12:36:19 | 0 | 0 | 0 | 0 | 0 | 0

## Diagnostic_Table_Extended
Timestamp_Local | Bulletin Number | MMFRN | Options Bit Field | Overall Status | MM ROM Status | MM RAM Status | NV RAM Status | Power Supply Check | Data Acquisition | MM Watchdog Timer | Real Time Clock Status | Battery Usage | SCC Status | SCC Type | SCC FRN | Number of DMs | DM Status | DM Self Test Results Word 1 | DM Self Test Results Word 2 | DM #1 FRN | DM #2 FRN | DM #3 FRN | Aux. Freq. | Fiber Loop Back Test Results | EEPROM Status | Device ID | General Purpose Status Bits | BT Error Status Word (Block Size ID) | BT Error Status Word (Parameter Number)
(units)
2026-05-13 12:35:18 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0
2026-05-13 12:35:33 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0
2026-05-13 12:35:49 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0
2026-05-13 12:36:04 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0
2026-05-13 12:36:19 | 1403 | 304 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 2 | 202 | 1 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 64 | 0 | 154 | 2 | 0 | 0